ABSTRACT

GEMIGNANI, Matheus Mingatos Fernandes. Proposal and comparative analysis of alternative methods on the definition of load curves typologies for tariff reviews. 190p. Dissertation (M. Sc.) – Escola Politécnica da Universidade de São Paulo, São Paulo, 2009.

Knowing the way consumers use the energy is necessary for many studies, either commercial or technical. This knowledge can be reached by obtaining the load curves from all the customers of the company. However, given the great number of measurers necessary, this practice is not viable. The alternative used currently in tariff review in the Brazilian electrical system is based on the sampling theory associated with data analysis techniques. After obtaining the information, the load typologies that represent each transformer or customer are calculated through stages of load characterization. The results obtained allow a more precise analysis of the electric energy market and, specially, the knowledge of how each consumer class uses the electricity network. This research involves part of the previously mentioned study on the analysis of the data collected in the measurement campaigns, considering and evaluating alternative methodologies for two stages of the load typologies characterization process, the election of typical curves and the data classification, adjusted to the necessities of the tariff revisions and on the basis of heuristical methods and electricity sector practices. After the development and implementation of the methodologies, tests have been carried between the considered processes, comparing and evaluating their particularitities for two situations: the similarity between the typologies found for transformers and consumers on the same tension level and the impact in the marginal capacity costs. The analysis of the comparisons carried through allowed the identification of the impacts and characteristics of the developed methodologies, for each studied stage.

Keywords: Consumption characterization, load curves, tariff review, election of typical load curves, data classification, typologies.